## Sheet1
Draft Regional Trash Generation Rates Study Comment Table
REVIEWER | COMMENT | SECTION | PAGE # | SUGGESTED SOLUTION | DATE OF COMMENT | Responsible Person | Response
Escondido | Table ES-1 and ES-2, and Tables 3, 4, 5, and related text if applicable. Transportation value seems abnormally high and with only one site I recommend removing this from the table, and referencing it in text or in its own section. This value is not reliable and Cities will have to use literature values anyway. Seems like an outlier. I highly recommend remving from the data tables presented | ES and other sections | ES-2 and other pages | remove transportation value and footnote, and add a separate section or other descriptive text to describe that value as an outlier or an area of future study | 2018-05-10 | AA | Transportation value removed from all analyses and tables in report. Individual site value for Trans-CiSD-2 is still presented separately as "Park and Ride," but is no longer included in any analyses done within the report or appendices. Disclaimer given that this value is not representative for all transportation values.
Escondido | Capitalization of Bay Area should be consistent throughout document |  | 16 of pdf, page 23 of pdf footnotes | Capitalization of Bay Area should be consistent throughout document | 2018-05-10 | AA | Revised
Escondido | try to have table 5 all on one page. | Table 5 |  | have table all on one page | 2018-05-10 | AA | Revised
Escondido | fix formatting of table |  | 18 | fix formatting | 2018-05-10 | AA | Revised
Port | There were at least a couple sites (Port’s included) in which the device was damaged. I think it would be good to mention in this section, or at least as a footnote, that the results for these locations were impacted due to the damage and also state when the devices were fixed/fully back on line. There were two dates (as seen in Appendix E, Table E-1) where it is noted that the Port’s site was considered damaged and not fully capturing trash. How long could this have impacted the results? | 3.2.1 | 10 | See comment |  |  | We contacted Weston Solutions for this inquiry, but have yet to receive a response. A contact at Weston Solutions is Michelle Mattson: Michelle.Mattson@WestonSolutions.com.
Port | Table 5- the table runs over on to the next page |  | 13 | Fix formatting |  |  | Revised